## AI-Based Energy Demand Forecasting and Optimization Framework

### 1. Introduction

The case study focuses on a national renewable energy company operating solar and wind farms across multiple Indian states. The main goal was to develop an AI-powered decision framework for real-time energy allocation, storage optimization, and dynamic bidding.

The company currently manages around 12 GW of installed renewable capacity (60% wind, 40% solar) and faces challenges like:

- Weather-driven generation fluctuations

- Mismatched regional demand forecasts

- Inefficient utilization of storage systems

The company aims to:

- Improve grid reliability by 15%

- Reduce storage and transmission losses by 20%

- Maintain EBITDA margins above 15%

The overall objective of this project was to build a data-driven forecasting and optimization framework that can predict energy demand accurately and support better dispatch and bidding decisions in dynamic market conditions.

### 2. Dataset Used

Since publicly available high-frequency renewable energy and demand datasets for India are limited, I used the UK National Grid Electricity Consumption Dataset (2009–2024) as a representative dataset.

Although the dataset is based on the UK, it provides:

- Half-hourly (48 times/day) demand data over 15 years

- Weather-linked variables like embedded solar and wind generation

- Interconnector flows, pump storage data, and system demand

- Seasonal and daily consumption variations

These characteristics make it an excellent proxy for modeling demand and generation behavior similar to Indian regional grids.

#### Reason for Choosing This Dataset

- Rich temporal data suitable for time-series forecasting

- Includes renewable generation and storage-related columns

- Clean and updated data, ideal for AI/ML modeling experiments

- Enables testing of the end-to-end forecasting and optimization pipeline

The target variable chosen was Transmission System Demand (TSD) — the total system load in MW, which includes generation for station load, storage pumping, and interconnector exports.

### 3. Approach and Methodology

The solution was developed as a complete end-to-end Python workflow, beginning from data preprocessing to model training and future forecasting.

The implementation was done in Python using libraries like Pandas, Statsmodels, XGBoost, Prophet, and TensorFlow.

### 3.1 Data Preparation and Cleaning

Key preprocessing steps:

- Removed missing values and dropped features with too many NaNs

- Filtered out invalid settlement periods (>48)

- Removed full days containing zero or erroneous readings

- Added bank holiday features (important for consumption dips) using the Python Holidays library

- Merged SETTLEMENT_DATE and SETTLEMENT_PERIOD to create a precise half-hourly timestamp

- Created a clean, continuous Datetime index

### 3.2 Feature Engineering

Created new time-based and lag-based features to capture trend and seasonality:

- Time features: hour, day, month, quarter, year, weekday, week of year

- Lag features: previous 1-year, 2-year, and 3-year electricity demand

- Holiday indicator: binary flag for UK bank holidays
 These features helped models like XGBoost and Prophet capture both daily and yearly patterns effectively.

### 3.3 Exploratory Data Analysis (EDA)

Insights:

- Electricity demand follows strong daily and seasonal patterns.

- Lower demand during summer months due to milder UK weather.

- Weekends and holidays show a visible reduction in consumption.

- Overall, demand trends show a gradual decline over years, likely due to efficiency improvements and renewable penetration.

Plots and boxplots helped visualize demand distribution across hours, months, years, and holidays.

### 4. Modeling and Forecasting

#### 4.1 SARIMA

- Used as a baseline statistical model.

- Required daily aggregation due to computational cost.

- Could not fully capture multi-seasonalities (daily + yearly).

- MAPE: ~12–25%, depending on parameters.

- Conclusion: SARIMA too rigid for this multi-scale dataset.

#### 4.2 XGBoost Regression

- Used engineered calendar and lag features.

- Applied TimeSeriesSplit cross-validation and GridSearchCV for hyperparameter tuning.

- Captured short-term seasonality better than SARIMA.

- MAPE: ~8–10% after tuning.

- RMSE: improved significantly over baseline.

- Advantage: fast, interpretable, and flexible.

#### 4.3 Linear Tree Boosting

- Combined decision trees with linear regressions at the leaves.

- Captured nonlinearities better than pure linear models.

- However, showed abrupt jumps between half-hour intervals.

- Good performance but longer training time (~13 min/run).

#### 4.4 Prophet (Facebook Prophet)

- Designed for multi-seasonal additive time series with trend + holiday effects.

- Added custom holiday dataframe to incorporate UK bank holidays.

- Confidence intervals and component plots helped interpret the model.

- MAPE: ~7–9%

- Strength: Accurate for long-term forecasting and explainability.

- Weakness: Slightly slower runtime; assumes additive trend.

#### 4.5 LSTM and Deep LSTM

- Implemented neural networks with 1 and multiple LSTM layers.

- Required data scaling and reshaping into 3D sequences.

- Performed best on capturing short-term fluctuations and peaks.

- Deep LSTM showed lowest MAPE (~6–7%), outperforming all others.

- Disadvantages: high computational cost, longer training time.

### 5. Model Comparison Summary

| Model | Type | Key Strength | MAPE (%) | Remarks |
| --- | --- | --- | --- | --- |
| SARIMA | Statistical | Simple baseline | 12–25 | Poor on multi-seasonal data |
| XGBoost | ML | Fast, robust | 8–10 | Balanced accuracy and interpretability |
| Linear Boost | Hybrid ML | Handles nonlinearity | ~9 | Slight instability |
| Prophet | Statistical/ML | Captures trend & holidays | 7–9 | Reliable and explainable |
| LSTM | Deep Learning | Best on complex patterns | 6–7 | Most accurate, needs resources |

### 6. Simulation and Scenario Analysis

Once demand forecasts were generated, simulated future predictions for 210 days ahead were compared across models.
 Key outcomes:

- XGBoost and Prophet provided smoother, interpretable demand forecasts.

- LSTM captured sharper peaks, ideal for real-time dispatch planning.

- Forecasted data can directly feed into an optimization or bidding system to improve grid reliability and profitability.

### 7. Alignment with Case Study Objectives

The AI models developed address the core business goals:

| Goal | Solution Contribution |
| --- | --- |
| 15% improvement in grid reliability | Accurate short-term demand forecasts reduce imbalance between demand and generation. |
| 20% reduction in energy loss | Improved scheduling and dispatch using ML predictions optimize battery charge/discharge cycles. |
| Maintain EBITDA >15% | Forecast-informed bidding strategies at IEX minimize penalties and maximize sale price margins. |

### 8. Future Enhancements

- Integrate real Indian regional weather and IEX market data for higher realism.

- Extend framework to include renewable generation forecasting using wind and solar weather models.

- Add a reinforcement learning optimization layer for real-time bidding and storage scheduling.

- Develop a dashboard (Streamlit/PowerBI) for visualization of live forecasts and KPIs.

- Implement an automated retraining pipeline to update models monthly with new data.

### 9. Conclusion

This project successfully built an AI-driven forecasting framework for renewable energy demand optimization.
 Using the UK dataset as a representative proxy, I explored multiple forecasting models — from classical statistical models to advanced deep learning architectures.

Among all methods, LSTM and Prophet with holiday adjustment provided the best balance between accuracy and interpretability. The overall workflow demonstrates how data-driven forecasting can significantly enhance renewable energy distribution efficiency and decision-making for a national energy provider.

The framework is modular, scalable, and directly transferable to the Indian energy context once appropriate regional datasets are available.